Guide to Requirements for Land Disturbances on MCB Quantico:

If <2500 sq ft (232 sq.m., 0.057 acres) – no required permit, however applicable state and federal erosion and sediment control regulations apply.

Sites ≥2500 sq ft (232 sq.m., 0.057 acres) and within 100 feet from open water or drainage lines:

If the site is ≥2500 square feet and lies within a resource protection area (RPA), or an area determined by NREA to be in a sensitive area, the following is required:

REQUIRED: 	Storm Water Construction Permit from DCR (no fee if < 1 acre)

Storm Water Pollution Prevention Plan (narrative and plans)

Erosion and Sediment Control (narrative and plans)

NREA Online Storm Water Construction Training

Onsite Responsible Land Disturber (Virginia State Certified)

This applies to all applicable size site locations East of I-95 and may include sensitive areas West of I-95 as determined by NREA at time of project review.  Sensitive areas are designated as:

1. Tidal wetlands;

2. Nontidal wetlands connected by surface flow and contiguous to tidal wetlands or water bodies with perennial flow;

3. Tidal shores;

4. Such other lands considered by the local government to meet the provisions of this section and to be necessary to protect the quality of the state waters; (ex: county delineated RPAs) and

5. A buffer area not less than 100 feet in width located adjacent to and landward of the components listed above, and along both sides of any water body with perennial flow.” (9VAC 10-20-10 et seq.).

For sites ≥10,000 square feet but <1 acre, located anywhere on Base, and more than 100ft from open water, sensitive areas, or drainage lines, the following is required:

REQUIRED:	Erosion and Sediment Control (narrative and plans)- Short Form applies

If ≥ 43,560 sq.ft. (4,047 sq.m., 1.00 acre) the following is required:

REQUIRED: 	Storm Water Construction Permit from DCR (no fee if < 1 acre)

Storm Water Pollution Prevention Plan (narrative and plans)

Erosion and Sediment Control (narrative and plans)

NREA Online Storm Water Construction Training

Onsite Responsible Land Disturber (Virginia State Certified)

DCR Application Fees:	$300 (1 but less than 5 acres)

$600 (5 acres and over)

STEPS FOR OBTAINING A CONSTRUCTION VPDES GENERAL PERMIT FOR STORM WATER DISCHARGES

It is recommended that all required submittals be provided to NREA at least 45 days from anticipated date of the proposed land disturbing activity.

Step One:  The following materials need to be obtained (you can find this information at http://www.dcr.state.va.us/sw/vsmp.htm or via the NREA Water Programs Website at http://www.quantico.usmc.mil/activities/display.aspx?PID=1786&Section=NREA

- VSMP general permit application form for construction activities:

- General permit notice of termination (NOT) for storm water discharges from construction activities

- Permit application fee form

Step Two:  Develop an Erosion and Sediment Control (E&SC) Plan and a Storm Water Pollution Prevention Plan (SWP3) for the project site.  There is a generic SWP3 Plan that you can use (just fill in the highlighted areas with all pertinent information and attach the maps) located on the NREA Water Programs website.   The SWP3 and E&SC plans must be reviewed and approved by NREA prior to any land disturbance activities.

Step Three:  Provide NREA with a name of the Responsible Land Disturber (RLD) for the construction site.  The RLD must fall under one of the following criteria to be acceptable:

- He/she must have a state RLD certificate (see http://www.dcr.state.va.us/sw/es_rld.htm for more information.), OR:

- Must be a certified P.E. in the state of Virginia, OR

- Must be enrolled in the state Erosion and Sediment Control Certification Program (see http://www.dcr.state.va.us/sw/estr&crt.htm for more info) or have obtained a state certificate through this program.

NEW TRAINING REQUIREMENT:  At a minimum, all contractor RLD’s are required to complete the online module of Storm Water Training at the following site:

http://nreabweb.emainc.com/MCBQ_SW_Training/SWPP%20Training/index.asp

Step Four:  Provide a Storm Water Management Plan (SWMP) for review and approval.

Step Five:   Fully fill out the permit registration statement and permit application fee forms.

Step Six:  Provide the original permit application fee form, the original check (made out to “Treasurer of Virginia”) and the original registration statement to the Environmental Compliance Section, NREA Branch, who will review the forms, prepare the transmittal letter and submit the package to the Department of Conservation and Recreation (DCR).  No land disturbing activity can begin until the permit or 15 business days from NREA permit submittal to DCR have passed, whichever occurs first.

Step Seven:  When total stabilization of the site has occurred, NREA will provide the contractor a close-out memo.  Once this memo has been received, the contractor is to fill out the Notice Of Termination (NOT) for the project and send it to the Virginia DCR.  A copy of the NOT must be sent to NREA.

If you have any questions about filling out these forms, please call NREA at (703) 432-0528.